## Sheet1
Time Stamp (Seconds) | Comment () | System Status (Code) | Puck Temp (Kelvin) | System Temp (Kelvin) | Field (Oersted) | Pressure (Torr) | Sample Temp (Kelvin) | Temp Rise (Kelvin) | Samp HC (J/mole-K) | Samp HC Err (J/mole-K) | Addenda HC (ｵJ/K) | Addenda HC Err (ｵJ/K) | Total HC (ｵJ/K) | Total HC Err (ｵJ/K) | Fit Deviation (ChiSquare) | Time Const tau1 (seconds) | Time Const tau2 (seconds) | Sample Coupling (Percent) | Debye Temp (Kelvin) | Debye Temp Err (Kelvin) | Cal Correction (Factor) | Therm Resist (Ohms) | Htr Resist (Ohms) | Puck Resist (Ohms) | Wire Cond (W/K) | Meas Time (seconds) | Temp Squared (K^2) | Samp HC/Temp (J/mole-K/K) | Addenda Offset HC (ｵJ/K)
13576816.92 | CALFILE: Puck603.cal - Addenda #379 measured on 6/4/2011 from 2.0569334 to 296.98187 K
13576817.03 |  | 5905 | 200.004 | 200.239 | 9999.74 | 9.3e-06 | 201.4709 | 4.0684 | 118.5676 | 0.2171 | 8780.8869 | 6.408 | 13652.064 | 8.92 | 0.094438 | 76.3003 | 0.74615 | 95.8695 | 203.7251 | 3.759 | 1 |  |  |  | 0.00017992 | 185.3025 | 40590.523 | 0.58851 | 0
13577687.2 |  | 5905 | 194.993 | 195.311 | 9999.74 | 9.3e-06 | 196.1766 | 3.5028 | 117.6814 | 0.1749 | 8481.2624 | 5.901 | 13316.033 | 7.187 | 0.88559 | 77.7897 | 0.86171 | 95.3722 | 212.7222 | 2.773 | 1 |  |  |  | 0.00017229 | 152.6006 | 38485.251 | 0.59987 | 0
13578566.17 |  | 5905 | 190.022 | 190.265 | 9999.74 | 9.3e-06 | 191.1949 | 3.4578 | 117.0326 | 0.2014 | 8197.4152 | 5.644 | 13005.53 | 8.276 | 0.24754 | 78.4653 | 0.86568 | 95.422 | 217.0959 | 2.996 | 1 |  |  |  | 0.00016685 | 155.5793 | 36555.472 | 0.61211 | 0
13579451.88 |  | 5905 | 185.019 | 185.251 | 9999.74 | 9.3e-06 | 186.2009 | 3.3889 | 116.0717 | 0.2149 | 7916.046 | 5.57 | 12684.682 | 8.829 | 0.14431 | 78.9845 | 0.84292 | 95.5941 | 224.9142 | 2.959 | 1 |  |  |  | 0.00016165 | 156.9307 | 34670.765 | 0.62337 | 0
13580349.7 |  | 5905 | 179.998 | 180.242 | 9999.74 | 9.2e-06 | 181.2061 | 3.31 | 115.2004 | 0.1816 | 7635.2424 | 5.59 | 12368.084 | 7.459 | 0.23422 | 79.0844 | 0.81824 | 95.7511 | 230.2609 | 2.335 | 1 |  |  |  | 0.00015742 | 157.969 | 32835.656 | 0.63574 | 0
13581237.84 |  | 5905 | 175.013 | 175.204 | 9999.74 | 9.3e-06 | 176.1955 | 3.2341 | 114.0217 | 0.1665 | 7350.5026 | 5.619 | 12034.92 | 6.84 | 0.56386 | 79.4966 | 0.80604 | 95.8574 | 238.2223 | 1.984 | 1 |  |  |  | 0.00015239 | 158.1688 | 31044.864 | 0.64713 | 0
13582140.69 |  | 5905 | 170.008 | 170.184 | 9999.74 | 9.3e-06 | 171.1714 | 3.1556 | 112.7366 | 0.1556 | 7058.199 | 5.603 | 11689.818 | 6.395 | 6.9081 | 79.4883 | 0.78568 | 95.9815 | 245.9254 | 1.722 | 1 |  |  |  | 0.00014804 | 158.9933 | 29299.664 | 0.65862 | 0
13583033.72 |  | 5905 | 165.02 | 165.167 | 9999.74 | 9.2e-06 | 166.1543 | 3.0794 | 111.4024 | 0.1533 | 6761.4182 | 5.597 | 11338.223 | 6.299 | 8.0143 | 79.6891 | 0.79718 | 95.9568 | 252.7218 | 1.581 | 1 |  |  |  | 0.00014327 | 158.9766 | 27607.263 | 0.67048 | 0
13583934.73 |  | 5905 | 160.013 | 160.176 | 9999.74 | 9.2e-06 | 161.1403 | 3.0038 | 110.0914 | 0.1558 | 6462.2574 | 5.575 | 10985.202 | 6.4 | 6.5253 | 79.7739 | 0.76457 | 96.1432 | 257.9557 | 1.506 | 1 |  |  |  | 0.00013865 | 159.3783 | 25966.195 | 0.6832 | 0
13584828.28 |  | 5905 | 155.008 | 155.205 | 9999.74 | 9.3e-06 | 156.1226 | 2.9308 | 108.4264 | 0.1537 | 6162.8424 | 5.499 | 10617.383 | 6.314 | 9.1557 | 79.6215 | 0.74242 | 96.2632 | 265.1889 | 1.386 | 1 |  |  |  | 0.00013427 | 159.5478 | 24374.281 | 0.69449 | 0
13585729.45 |  | 5905 | 150.018 | 150.206 | 9999.74 | 9.3e-06 | 151.0875 | 2.8512 | 106.6852 | 0.152 | 5862.1788 | 5.341 | 10245.185 | 6.244 | 18.6621 | 79.6287 | 0.77722 | 96.1102 | 271.5483 | 1.282 | 1 |  |  |  | 0.00012962 | 159.2429 | 22827.438 | 0.70612 | 0
13586623.33 |  | 5905 | 145.014 | 145.201 | 9999.74 | 9.3e-06 | 146.0671 | 2.7751 | 105.2557 | 0.1464 | 5561.6406 | 5.145 | 9885.9185 | 6.014 | 26.6467 | 79.3387 | 0.74381 | 96.2771 | 274.0308 | 1.166 | 1 |  |  |  | 0.00012553 | 159.2574 | 21335.589 | 0.7206 | 0
13587513.09 |  | 5905 | 139.996 | 140.19 | 9999.74 | 9.3e-06 | 141.0401 | 2.6971 | 103.2544 | 0.1388 | 5261.0499 | 4.972 | 9503.1082 | 5.701 | 17.9781 | 78.8431 | 0.71314 | 96.4181 | 279.7532 | 1.037 | 1 |  |  |  | 0.00012143 | 158.6774 | 19892.314 | 0.73209 | 0
13588408.39 |  | 5905 | 135.005 | 135.17 | 9999.74 | 9.2e-06 | 136.0061 | 2.6119 | 101.2228 | 0.139 | 4959.8092 | 4.857 | 9118.4 | 5.709 | 2.0096 | 78.2618 | 0.6873 | 96.5309 | 284.2208 | 0.9781 | 1 |  |  |  | 0.00011739 | 157.6862 | 18497.652 | 0.74425 | 0
13589291.59 |  | 5905 | 130.008 | 130.16 | 9999.74 | 9.3e-06 | 130.9866 | 2.5324 | 99.1215 | 0.1354 | 4659.8247 | 4.76 | 8732.0882 | 5.562 | 5.8828 | 77.6012 | 0.65383 | 96.6774 | 287.8167 | 0.8992 | 1 |  |  |  | 0.00011337 | 156.5237 | 17157.488 | 0.75673 | 0
13590170.61 |  | 5905 | 125.009 | 125.173 | 9999.74 | 9.2e-06 | 125.958 | 2.4501 | 96.4697 | 0.1337 | 4362.0352 | 4.634 | 8325.3543 | 5.495 | 25.8787 | 76.4562 | 0.65213 | 96.6425 | 293.5193 | 0.8373 | 1 |  |  |  | 0.00010976 | 155.2023 | 15865.424 | 0.76589 | 0
13591041.09 |  | 5905 | 119.993 | 120.182 | 9999.74 | 9.3e-06 | 120.9284 | 2.3582 | 94.1078 | 0.1292 | 4066.8346 | 4.471 | 7933.119 | 5.309 | 3.9496 | 75.3285 | 0.61103 | 96.8071 | 295.8897 | 0.7664 | 1 |  |  |  | 0.00010615 | 152.9125 | 14623.69 | 0.77821 | 0
13591905.89 |  | 5905 | 115.001 | 115.179 | 9999.74 | 9.3e-06 | 115.9008 | 2.2685 | 91.2509 | 0.1247 | 3774.8502 | 4.287 | 7523.7597 | 5.121 | 2.0845 | 73.7638 | 0.57002 | 96.9557 | 299.7235 | 0.7005 | 1 |  |  |  | 0.0001028 | 150.6571 | 13432.984 | 0.78732 | 0
13592768.42 |  | 5905 | 109.989 | 110.175 | 9999.74 | 9.3e-06 | 110.8647 | 2.1751 | 88.2975 | 0.1197 | 3486.2396 | 4.081 | 7113.8141 | 4.919 | 14.0312 | 72.2568 | 0.54142 | 97.0436 | 302.5151 | 0.6394 | 1 |  |  |  | 9.9238e-05 | 147.5275 | 12290.972 | 0.79644 | 0
13593612.69 |  | 5905 | 104.975 | 105.18 | 9999.74 | 9.3e-06 | 105.8263 | 2.0847 | 85.3092 | 0.1141 | 3201.2422 | 3.856 | 6706.0458 | 4.687 | 1.6065 | 70.6457 | 0.52932 | 97.0366 | 303.9781 | 0.5803 | 1 |  |  |  | 9.5723e-05 | 144.5135 | 11199.214 | 0.80612 | 0
13594443.44 |  | 5905 | 99.993 | 100.171 | 9999.74 | 9.3e-06 | 100.7948 | 1.9984 | 82.0911 | 0.1107 | 2927.0047 | 3.685 | 6299.5997 | 4.55 | 25.9048 | 69.0342 | 0.50191 | 97.1127 | 305.1323 | 0.538 | 1 |  |  |  | 9.2037e-05 | 141.2914 | 10159.59 | 0.81444 | 0
13595291.94 |  | 5905 | 94.9933 | 95.1752 | 9999.74 | 9.3e-06 | 95.7645 | 1.8986 | 78.7938 | 0.1108 | 2663.3982 | 3.595 | 5900.5274 | 4.551 | 0.5127 | 66.7133 | 0.45955 | 97.2483 | 305.1758 | 0.5151 | 1 |  |  |  | 8.9205e-05 | 138.0684 | 9170.8397 | 0.82279 | 0
13596130.78 |  | 5905 | 89.9911 | 90.169 | 9999.74 | 9.3e-06 | 90.7213 | 1.8058 | 74.9886 | 0.1163 | 2409.3497 | 3.403 | 5490.1463 | 4.779 | 0.19705 | 64.9267 | 0.46242 | 97.1379 | 305.9832 | 0.5198 | 1 |  |  |  | 8.5349e-05 | 133.4265 | 8230.3513 | 0.82658 | 0
13596960.33 |  | 5905 | 84.9813 | 85.1316 | 9999.74 | 9.3e-06 | 85.6869 | 1.7178 | 71.283 | 0.1016 | 2165.0063 | 3.046 | 5093.5639 | 4.173 | 0.18191 | 62.4206 | 0.42405 | 97.2455 | 304.7964 | 0.4373 | 1 |  |  |  | 8.237e-05 | 129.8534 | 7342.242 | 0.8319 | 0
13597748.63 |  | 5905 | 79.99 | 80.1264 | 9999.74 | 9.2e-06 | 80.6496 | 1.6266 | 67.2473 | 0.1177 | 1933.6484 | 2.806 | 4696.4054 | 4.835 | 0.070597 | 60.0715 | 0.41424 | 97.177 | 303.456 | 0.4903 | 1 |  |  |  | 7.8972e-05 | 124.8412 | 6504.3621 | 0.83382 | 0
13598524.83 |  | 5905 | 75.0037 | 75.1039 | 9999.74 | 9.2e-06 | 75.617 | 1.5402 | 62.7521 | 0.09322 | 1715.6203 | 2.694 | 4293.701 | 3.83 | 0.22905 | 57.3788 | 0.38381 | 97.2327 | 302.4181 | 0.3785 | 1 |  |  |  | 7.5604e-05 | 120.1431 | 5717.9358 | 0.82987 | 0
13599292.36 |  | 5905 | 70.0009 | 70.0969 | 9999.74 | 9.3e-06 | 70.575 | 1.453 | 58.069 | 0.08444 | 1509.2548 | 2.542 | 3894.9355 | 3.469 | 0.37024 | 54.7553 | 0.36495 | 97.2106 | 300.4485 | 0.3363 | 1 |  |  |  | 7.1904e-05 | 114.7576 | 4980.8348 | 0.8228 | 0
13600044.67 |  | 5905 | 65.0001 | 65.0897 | 9999.74 | 9.3e-06 | 65.5396 | 1.3667 | 53.2452 | 0.07907 | 1317.6801 | 2.417 | 3505.1831 | 3.248 | 1.9002 | 51.6313 | 0.3343 | 97.2561 | 297.4071 | 0.3112 | 1 |  |  |  | 6.864e-05 | 109.5106 | 4295.4326 | 0.81241 | 0
13600750.63 |  | 5905 | 60.0005 | 60.1005 | 9999.74 | 9.2e-06 | 60.5057 | 1.2805 | 48.2192 | 0.07937 | 1142.5429 | 2.355 | 3123.5608 | 3.261 | 0.5027 | 48.6582 | 0.32097 | 97.1714 | 293.5385 | 0.3116 | 1 |  |  |  | 6.4951e-05 | 103.2626 | 3660.9454 | 0.79694 | 0
13601491.31 |  | 5905 | 54.9989 | 55.0978 | 9999.74 | 9.3e-06 | 55.4729 | 1.1948 | 43.0707 | 0.06914 | 979.3606 | 2.262 | 2748.8575 | 2.84 | 2.6535 | 45.0857 | 0.29594 | 97.151 | 288.5478 | 0.2737 | 1 |  |  |  | 6.1715e-05 | 97.3163 | 3077.2408 | 0.77643 | 0
13602214.23 |  | 5905 | 49.9994 | 50.1075 | 9999.74 | 9.3e-06 | 50.4374 | 1.0963 | 37.7427 | 0.07216 | 830.5249 | 2.187 | 2381.1293 | 2.964 | 0.55274 | 41.0739 | 0.26787 | 97.1403 | 282.6983 | 0.2926 | 1 |  |  |  | 5.87e-05 | 90.1715 | 2543.9306 | 0.74831 | 0
13602873.13 |  | 5905 | 46.9971 | 47.1095 | 9999.74 | 9.3e-06 | 47.3642 | 0.9295 | 34.4803 | 0.06513 | 747.3934 | 2.198 | 2163.9662 | 2.676 | 0.32094 | 38.4572 | 0.24851 | 97.1526 | 278.4441 | 0.2702 | 1 |  |  |  | 5.6981e-05 | 69.2382 | 2243.3681 | 0.72798 | 0
13603453.16 |  | 5905 | 45.9974 | 46.113 | 9999.74 | 9.3e-06 | 46.385 | 0.9626 | 33.3702 | 0.06647 | 721.903 | 2.219 | 2092.8706 | 2.731 | 0.18351 | 37.2946 | 0.23476 | 97.2243 | 277.2739 | 0.2788 | 1 |  |  |  | 5.6809e-05 | 76.9144 | 2151.5716 | 0.71942 | 0
13604022.94 |  | 5905 | 44.9986 | 45.1145 | 9999.74 | 9.3e-06 | 45.3753 | 0.93685 | 32.3073 | 0.06813 | 696.3267 | 2.241 | 2023.6247 | 2.799 | 0.082612 | 36.4003 | 0.22467 | 97.2749 | 275.6725 | 0.2885 | 1 |  |  |  | 5.6268e-05 | 74.5893 | 2058.9155 | 0.712 | 0
13604593.55 |  | 5905 | 43.9964 | 44.1103 | 9999.74 | 9.3e-06 | 44.3718 | 0.91398 | 31.1933 | 0.06761 | 671.3447 | 2.256 | 1952.8768 | 2.778 | 0.12041 | 35.2916 | 0.21478 | 97.3116 | 274.2747 | 0.2899 | 1 |  |  |  | 5.5998e-05 | 72.8007 | 1968.8571 | 0.703 | 0
13605164.38 |  | 5905 | 42.9976 | 43.1045 | 9999.74 | 9.3e-06 | 43.3658 | 0.89094 | 29.9204 | 0.06436 | 646.7129 | 2.26 | 1875.9508 | 2.644 | 0.36522 | 34.1214 | 0.20064 | 97.4058 | 273.5087 | 0.2812 | 1 |  |  |  | 5.5611e-05 | 70.5833 | 1880.5956 | 0.68995 | 0
13605733.09 |  | 5905 | 41.9979 | 42.0953 | 9999.74 | 9.3e-06 | 42.3626 | 0.86747 | 28.7646 | 0.06285 | 622.8488 | 2.269 | 1804.6025 | 2.582 | 0.89398 | 33.2587 | 0.19438 | 97.423 | 272.2201 | 0.2792 | 1 |  |  |  | 5.4879e-05 | 68.2428 | 1794.5931 | 0.67901 | 0
13606306.36 |  | 5905 | 41.0012 | 41.0903 | 9999.74 | 9.3e-06 | 41.355 | 0.84724 | 27.6774 | 0.06438 | 599.329 | 2.27 | 1736.4152 | 2.645 | 0.60356 | 32.3492 | 0.18613 | 97.4629 | 270.5602 | 0.2905 | 1 |  |  |  | 5.428e-05 | 66.5175 | 1710.2367 | 0.66926 | 0
13606876.59 |  | 5905 | 40.0029 | 40.0829 | 9999.74 | 9.2e-06 | 40.3487 | 0.82763 | 26.5883 | 0.06174 | 575.9516 | 2.251 | 1668.2929 | 2.537 | 0.84113 | 31.6055 | 0.1878 | 97.3804 | 268.8782 | 0.2834 | 1 |  |  |  | 5.3397e-05 | 64.6984 | 1628.0215 | 0.65896 | 0
13607443.69 |  | 5905 | 39.0037 | 39.0793 | 9999.74 | 9.3e-06 | 39.343 | 0.8099 | 25.5574 | 0.05977 | 552.4233 | 2.196 | 1602.4122 | 2.456 | 2.1376 | 30.839 | 0.1855 | 97.3464 | 266.8921 | 0.2788 | 1 |  |  |  | 5.2572e-05 | 63.211 | 1547.8721 | 0.6496 | 0
13608014.34 |  | 5905 | 38.0059 | 38.0764 | 9999.74 | 9.3e-06 | 38.3326 | 0.79071 | 24.6133 | 0.05807 | 528.2868 | 2.083 | 1539.4891 | 2.386 | 0.47076 | 30.0425 | 0.17867 | 97.3703 | 264.421 | 0.2747 | 1 |  |  |  | 5.1844e-05 | 61.678 | 1469.3916 | 0.6421 | 0
13608582.59 |  | 5905 | 37.0057 | 37.074 | 9999.74 | 9.3e-06 | 37.3284 | 0.77251 | 23.7604 | 0.05256 | 504.2217 | 1.934 | 1480.3849 | 2.16 | 1.5335 | 29.4979 | 0.17727 | 97.3328 | 261.5022 | 0.2515 | 1 |  |  |  | 5.0788e-05 | 60.085 | 1393.412 | 0.63652 | 0
13609145.28 |  | 5905 | 36.0093 | 36.0715 | 9999.74 | 9.2e-06 | 36.2987 | 0.7138 | 26.5823 | 0.09518 | 479.9861 | 1.788 | 1572.083 | 3.91 | 0.85656 | 32.1047 | 0.17853 | 97.3798 | 241.9136 | 0.3929 | 1 |  |  |  | 4.9607e-05 | 58.9957 | 1317.5926 | 0.73232 | 0
13609730.88 |  | 5905 | 35.0051 | 35.0701 | 9999.74 | 9.2e-06 | 35.3147 | 0.71625 | 27.6417 | 0.06314 | 457.5668 | 1.693 | 1593.1863 | 2.594 | 0.14798 | 32.6125 | 0.1677 | 97.4864 | 231.18 | 0.2436 | 1 |  |  |  | 4.9495e-05 | 64.2094 | 1247.1286 | 0.78273 | 0
13610331.58 |  | 5905 | 34.01 | 34.0697 | 9999.74 | 9.3e-06 | 34.319 | 0.72099 | 26.1445 | 0.06065 | 435.9465 | 1.657 | 1510.0541 | 2.492 | 0.15973 | 31.6383 | 0.17108 | 97.365 | 230.447 | 0.241 | 1 |  |  |  | 4.8386e-05 | 65.225 | 1177.7935 | 0.76181 | 0
13610888.28 |  | 5905 | 33.0131 | 33.0731 | 9999.74 | 9.2e-06 | 33.3113 | 0.70617 | 24.9667 | 0.07834 | 414.7906 | 1.649 | 1440.5126 | 3.218 | 0.050555 | 31.2322 | 0.16625 | 97.4021 | 228.3399 | 0.3171 | 1 |  |  |  | 4.675e-05 | 63.2766 | 1109.6437 | 0.7495 | 0
13611453.59 |  | 5905 | 32.0086 | 32.0684 | 9999.74 | 9.3e-06 | 32.3084 | 0.69443 | 23.1645 | 0.05408 | 393.8958 | 1.632 | 1345.5768 | 2.222 | 0.32412 | 28.9856 | 0.14659 | 97.5566 | 228.8392 | 0.2301 | 1 |  |  |  | 4.7007e-05 | 62.4643 | 1043.8358 | 0.71698 | 0
13612003.11 |  | 5905 | 31.0097 | 31.0896 | 9999.74 | 9.2e-06 | 31.2871 | 0.66911 | 22.0814 | 0.05334 | 372.8455 | 1.575 | 1280.0279 | 2.191 | 3.8239 | 29.6403 | 0.17511 | 97.1366 | 226.1906 | 0.2315 | 1 |  |  |  | 4.3829e-05 | 57.9711 | 978.8818 | 0.70577 | 0
13612560.55 |  | 5905 | 30.0142 | 30.0908 | 9999.74 | 9.3e-06 | 30.2934 | 0.67571 | 20.495 | 0.04966 | 352.1764 | 1.491 | 1194.1844 | 2.04 | 10.1782 | 28.0564 | 0.15139 | 97.4046 | 225.9583 | 0.2265 | 1 |  |  |  | 4.3131e-05 | 59.2807 | 917.6873 | 0.67655 | 0
13613112.11 |  | 5905 | 29.0218 | 29.1092 | 9999.74 | 9.3e-06 | 29.2815 | 0.64711 | 18.8389 | 0.04477 | 331.5967 | 1.398 | 1105.5648 | 1.839 | 6.9411 | 26.0148 | 0.15877 | 97.094 | 226.0706 | 0.2168 | 1 |  |  |  | 4.3125e-05 | 56.1129 | 857.4058 | 0.64337 | 0
13613653.39 |  | 5905 | 28.0078 | 28.0865 | 9999.74 | 9.3e-06 | 28.2674 | 0.61855 | 17.3153 | 0.04105 | 311.8068 | 1.318 | 1023.1793 | 1.687 | 0.64673 | 24.6288 | 0.14766 | 97.1719 | 225.7203 | 0.2112 | 1 |  |  |  | 4.2132e-05 | 52.0297 | 799.0444 | 0.61255 | 0
13614197.83 |  | 5905 | 27.0047 | 27.0849 | 9999.74 | 9.3e-06 | 27.2567 | 0.595 | 15.9349 | 0.03845 | 292.9043 | 1.245 | 947.5661 | 1.58 | 0.80399 | 23.2294 | 0.13666 | 97.2478 | 224.8389 | 0.2099 | 1 |  |  |  | 4.1346e-05 | 49.2576 | 742.9275 | 0.58462 | 0
13614765.09 |  | 5905 | 24.0036 | 24.0724 | 9999.74 | 9.2e-06 | 24.1999 | 0.47379 | 11.8201 | 0.03078 | 236.9564 | 1.031 | 722.5694 | 1.264 | 3.1852 | 19.4763 | 0.12873 | 97.0086 | 223.3308 | 0.2123 | 1 |  |  |  | 3.762e-05 | 32.9558 | 585.6369 | 0.48844 | 0
13615279.48 |  | 5905 | 21.0035 | 21.0725 | 9999.74 | 9.3e-06 | 21.2258 | 0.50467 | 8.3333 | 0.02439 | 184.5502 | 0.8005 | 526.9115 | 1.002 | 6.1664 | 15.6582 | 0.10071 | 97.1852 | 221.918 | 0.2268 | 1 |  |  |  | 3.4065e-05 | 38.9527 | 450.5325 | 0.3926 | 0
13615803.95 |  | 5905 | 18.0034 | 18.0725 | 9999.74 | 9.3e-06 | 18.1988 | 0.43495 | 5.3632 | 0.01846 | 138.2826 | 0.6453 | 358.6223 | 0.7585 | 1.8206 | 12.1278 | 0.079005 | 97.268 | 221.4102 | 0.2581 | 1 |  |  |  | 2.9886e-05 | 31.3164 | 331.1966 | 0.2947 | 0
13616180.05 |  | 5905 | 14.991 | 15.0698 | 9999.74 | 9.3e-06 | 15.1669 | 0.36549 | 3.1628 | 0.01259 | 95.6799 | 0.4513 | 225.6209 | 0.5172 | 0.9896 | 9.1315 | 0.062638 | 97.2171 | 220.4177 | 0.2929 | 1 |  |  |  | 2.4944e-05 | 24.2556 | 230.0358 | 0.20854 | 0
13616530.5 |  | 5905 | 11.9899 | 12.0637 | 9999.74 | 9.3e-06 | 12.1333 | 0.28988 | 1.8201 | 0.008691 | 59.5078 | 0.3126 | 134.2848 | 0.357 | 0.5384 | 6.9312 | 0.051933 | 96.9976 | 212.0633 | 0.3366 | 1 |  |  |  | 1.9561e-05 | 18.2631 | 147.216 | 0.15001 | 0
13616867.75 |  | 5905 | 8.9891 | 9.0572 | 9999.74 | 9.3e-06 | 9.0978 | 0.20683 | 1.1776 | 0.004296 | 30.7043 | 0.1597 | 79.0851 | 0.1765 | 1.3277 | 5.8303 | 0.039529 | 97.165 | 183.8529 | 0.2231 | 1 |  |  |  | 1.3714e-05 | 13.8624 | 82.7701 | 0.12944 | 0
13617171.64 |  | 5905 | 7.9925 | 8.0425 | 9999.74 | 9.2e-06 | 8.0783 | 0.1591 | 1.1098 | 0.00308 | 23.0654 | 0.1063 | 68.6587 | 0.1266 | 0.52282 | 5.9224 | 0.036442 | 97.2499 | 166.5124 | 0.1538 | 1 |  |  |  | 1.1738e-05 | 10.5835 | 65.2594 | 0.13738 | 0
13617796.38 |  | 5905 | 6.8959 | 6.9771 | 9999.74 | 9.3e-06 | 6.9865 | 0.14057 | 1.0747 | 0.002655 | 15.9032 | 0.08176 | 60.0538 | 0.1091 | 0.10293 | 6.255 | 0.029841 | 97.5439 | 145.5592 | 0.1197 | 1 |  |  |  | 9.7323e-06 | 11.8449 | 48.8111 | 0.15382 | 0
13618087.2 |  | 5905 | 5.786 | 5.8599 | 9999.74 | 9.2e-06 | 5.8581 | 0.11485 | 1.0678 | 0.002186 | 9.9815 | 0.04011 | 53.849 | 0.08979 | 1.1283 | 7.2024 | 0.025303 | 97.6548 | 122.312 | 0.08334 | 1 |  |  |  | 7.5961e-06 | 12.5099 | 34.3174 | 0.18227 | 0
13618387.45 |  | 5905 | 4.6878 | 4.7526 | 9999.74 | 9.3e-06 | 4.7474 | 0.085977 | 1.1738 | 0.001962 | 5.518 | 0.0202 | 53.7403 | 0.08061 | 0.53944 | 9.3577 | 0.019059 | 97.7583 | 96.042 | 0.05346 | 1 |  |  |  | 5.8491e-06 | 14.4048 | 22.5375 | 0.24725 | 0
13618725.56 |  | 5905 | 3.5916 | 3.647 | 9999.74 | 9.3e-06 | 3.6386 | 0.07101 | 1.0485 | 0.003174 | 2.5108 | 0.008499 | 45.588 | 0.1304 | 0.77422 | 11.4937 | 0.012268 | 97.9146 | 76.4319 | 0.07697 | 1 |  |  |  | 4.0419e-06 | 18.7155 | 13.2392 | 0.28817 | 0
13619118.89 |  | 5905 | 2.4961 | 2.5228 | 9999.74 | 9.3e-06 | 2.5335 | 0.057198 | 0.38868 | 0.0008254 | 0.88726 | 0.003541 | 16.8558 | 0.03391 | 1.5818 | 6.69 | 0.0062043 | 98.1117 | 74.0848 | 0.05236 | 1 |  |  |  | 2.5631e-06 | 13.2346 | 6.4187 | 0.15342 | 0