## Sheet1
Time Stamp (Seconds) | Comment () | System Status (Code) | Puck Temp (Kelvin) | System Temp (Kelvin) | Field (Oersted) | Pressure (Torr) | Sample Temp (Kelvin) | Temp Rise (Kelvin) | Samp HC (J/mole-K) | Samp HC Err (J/mole-K) | Addenda HC (ｵJ/K) | Addenda HC Err (ｵJ/K) | Total HC (ｵJ/K) | Total HC Err (ｵJ/K) | Fit Deviation (ChiSquare) | Time Const tau1 (seconds) | Time Const tau2 (seconds) | Sample Coupling (Percent) | Debye Temp (Kelvin) | Debye Temp Err (Kelvin) | Cal Correction (Factor) | Therm Resist (Ohms) | Htr Resist (Ohms) | Puck Resist (Ohms) | Wire Cond (W/K) | Meas Time (seconds) | Temp Squared (K^2) | Samp HC/Temp (J/mole-K/K) | Addenda Offset HC (ｵJ/K)
13421082.66 | CALFILE: Puck603.cal - Addenda #379 measured on 6/4/2011 from 2.0569334 to 296.98187 K
13421082.81 |  | 5905 | 294.98 | 295.176 | 0.019 | 9.3e-06 | 296.9745 | 5.9254 | 126.1852 | 0.8717 | 14114.134 | 34.9 | 19298.272 | 35.81 | 28.83 | 62.3483 | 1.1907 | 91.0233 | 18135.222 | 4747 | 1 |  |  |  | 0.00031177 | 172.7441 | 88193.842 | 0.4249 | 0
13421919.09 |  | 5905 | 290.004 | 290.295 | 0.019 | 9.2e-06 | 291.3215 | 4.695 | 134.203 | 0.8502 | 13773.783 | 30.18 | 19287.32 | 34.93 | 0.95078 | 64.6246 | 1.6122 | 88.907 | 50715.111 | 9094000 | 1 |  |  |  | 0.00030157 | 124.6965 | 84868.202 | 0.46067 | 0
13422759.91 |  | 5905 | 285.012 | 285.291 | 0.019 | 9.3e-06 | 286.3451 | 4.7144 | 132.3009 | 0.7747 | 13477.435 | 26.34 | 18912.825 | 31.83 | 1.0566 | 65.1198 | 1.5278 | 89.539 | -38456231 | 38520000 | 1 |  |  |  | 0.0002933 | 129.2491 | 81993.519 | 0.46203 | 0
13423594.5 |  | 5905 | 280.018 | 280.314 | 0.019 | 9.3e-06 | 281.3545 | 4.6895 | 128.3186 | 0.664 | 13188.715 | 22.86 | 18460.499 | 27.28 | 0.87405 | 65.3733 | 1.2222 | 91.4863 | -1939899.6 | 1952000 | 1 |  |  |  | 0.00028457 | 130.2396 | 79160.362 | 0.45607 | 0
13424424.41 |  | 5905 | 275.033 | 275.284 | 0.019 | 9.3e-06 | 276.3444 | 4.6359 | 126.6555 | 0.5894 | 12907.985 | 19.76 | 18111.443 | 24.22 | 0.56239 | 66.3716 | 1.0957 | 92.4439 | 1626.2095 | 1676 | 1 |  |  |  | 0.00027475 | 130.7467 | 76366.226 | 0.45832 | 0
13425229.11 |  | 5905 | 270.002 | 270.296 | 0.019 | 9.3e-06 | 271.3542 | 4.6135 | 125.2405 | 0.5186 | 12636.767 | 17.05 | 17782.093 | 21.31 | 0.2992 | 67.189 | 0.88917 | 93.8905 | 8804.6728 | 11940 | 1 |  |  |  | 0.00026612 | 132.7431 | 73633.122 | 0.46154 | 0
13426034.83 |  | 5905 | 265.009 | 265.294 | 0.019 | 9.2e-06 | 266.3512 | 4.5576 | 124.8179 | 0.4455 | 12373.679 | 14.71 | 17501.641 | 18.3 | 0.25229 | 68.1441 | 0.77084 | 94.7749 | 38.3248 | 28.69 | 1 |  |  |  | 0.00025806 | 134.378 | 70942.955 | 0.46862 | 0
13426845.77 |  | 5905 | 260.011 | 260.298 | 0.019 | 9.3e-06 | 261.3496 | 4.5006 | 124.2427 | 0.4012 | 12128.196 | 12.82 | 17232.528 | 16.48 | 0.19757 | 68.9778 | 0.65758 | 95.5928 | 72.1325 | 43.85 | 1 |  |  |  | 0.00025085 | 136.2882 | 68303.638 | 0.47539 | 0
13427659.58 |  | 5905 | 254.992 | 255.29 | 0.019 | 9.3e-06 | 256.3412 | 4.4343 | 123.6619 | 0.3559 | 11902.483 | 11.39 | 16982.953 | 14.62 | 0.19882 | 70.1222 | 0.63617 | 95.821 | 105.7549 | 19.77 | 1 |  |  |  | 0.00024314 | 137.9556 | 65710.819 | 0.48241 | 0
13428484.22 |  | 5905 | 249.989 | 250.31 | 0.019 | 9.3e-06 | 251.3393 | 4.3626 | 123.6689 | 0.3367 | 11683.298 | 10.33 | 16764.054 | 13.83 | 0.20005 | 71.1596 | 0.6167 | 96.0296 | 103.3469 | 18.3 | 1 |  |  |  | 0.00023649 | 140.2443 | 63171.453 | 0.49204 | 0
13429318.38 |  | 5905 | 245.02 | 245.275 | 0.019 | 9.3e-06 | 246.3416 | 4.2955 | 123.0623 | 0.3346 | 11456.993 | 9.527 | 16512.832 | 13.74 | 0.15856 | 72.1361 | 0.61735 | 96.0987 | 127.49 | 13.73 | 1 |  |  |  | 0.00022979 | 142.3192 | 60684.174 | 0.49956 | 0
13430156.3 |  | 5905 | 240.016 | 240.267 | 0.019 | 9.3e-06 | 241.3403 | 4.2246 | 122.8704 | 0.2983 | 11209.555 | 8.869 | 16257.505 | 12.25 | 0.31256 | 73.0682 | 0.62076 | 96.1546 | 132.0264 | 11.24 | 1 |  |  |  | 0.00022336 | 144.2722 | 58245.152 | 0.50912 | 0
13431006.08 |  | 5905 | 235.013 | 235.244 | 0.019 | 9.3e-06 | 236.3224 | 4.1556 | 122.72 | 0.2809 | 10928.164 | 8.334 | 15969.939 | 11.54 | 0.24516 | 73.8804 | 0.56887 | 96.5345 | 134.5014 | 9.923 | 1 |  |  |  | 0.00021694 | 146.1363 | 55848.284 | 0.51929 | 0
13431859.56 |  | 5905 | 230.015 | 230.228 | 0.019 | 9.3e-06 | 231.3098 | 4.0795 | 123.5872 | 0.2946 | 10617.953 | 8.117 | 15695.355 | 12.1 | 0.16075 | 74.7471 | 0.553 | 96.7072 | 98.7713 | 13.93 | 1 |  |  |  | 0.00021073 | 147.7608 | 53504.221 | 0.53429 | 0
13432720.95 |  | 5905 | 225.012 | 225.219 | 0.019 | 9.2e-06 | 226.3052 | 4.0054 | 123.9628 | 0.2685 | 10292.599 | 8.09 | 15385.433 | 11.03 | 0.32662 | 75.2658 | 0.55843 | 96.7347 | 78.8524 | 15.64 | 1 |  |  |  | 0.00020518 | 149.4943 | 51214.029 | 0.54777 | 0
13433586.2 |  | 5905 | 220.01 | 220.211 | 0.019 | 9.3e-06 | 221.2998 | 3.9328 | 122.4201 | 0.2633 | 9965.1343 | 8.085 | 14994.587 | 10.82 | 0.6131 | 75.4306 | 0.60183 | 96.5171 | 135.2006 | 8.087 | 1 |  |  |  | 0.0001996 | 150.5316 | 48973.619 | 0.55319 | 0
13434449.7 |  | 5905 | 215.014 | 215.232 | 0.019 | 9.3e-06 | 216.2923 | 3.8656 | 120.8137 | 0.2516 | 9648.7136 | 7.938 | 14612.17 | 10.34 | 0.47814 | 76.0043 | 0.52477 | 96.9928 | 173.0844 | 5.796 | 1 |  |  |  | 0.00019295 | 150.8613 | 46782.362 | 0.55857 | 0
13435326.89 |  | 5905 | 210.014 | 210.222 | 0.019 | 9.2e-06 | 211.2793 | 3.7952 | 119.6535 | 0.2461 | 9349.1086 | 7.534 | 14264.899 | 10.11 | 0.28638 | 76.4445 | 0.47588 | 97.3003 | 193.234 | 4.892 | 1 |  |  |  | 0.00018722 | 152.0085 | 44638.926 | 0.56633 | 0
13436203.75 |  | 5905 | 205.017 | 205.254 | 0.019 | 9.3e-06 | 206.2662 | 3.7215 | 119.0723 | 0.2167 | 9057.4025 | 6.974 | 13949.315 | 8.901 | 0.5306 | 77.1876 | 0.47361 | 97.3589 | 199.5291 | 3.994 | 1 |  |  |  | 0.00018133 | 152.8889 | 42545.76 | 0.57727 | 0
13437089.55 |  | 5905 | 199.996 | 200.242 | 0.019 | 9.3e-06 | 201.2629 | 3.6526 | 118.0889 | 0.2135 | 8770.6993 | 6.388 | 13622.212 | 8.772 | 0.24796 | 77.6434 | 0.4536 | 97.4997 | 211.562 | 3.54 | 1 |  |  |  | 0.00017602 | 154.3752 | 40506.76 | 0.58674 | 0
13437969.2 |  | 5905 | 194.991 | 195.256 | 0.019 | 9.3e-06 | 196.2499 | 3.5768 | 117.7786 | 0.2011 | 8485.0553 | 5.906 | 13323.817 | 8.261 | 0.21924 | 78.2088 | 0.42896 | 97.6691 | 211.2651 | 3.21 | 1 |  |  |  | 0.0001709 | 155.2868 | 38514.007 | 0.60015 | 0
13438853.33 |  | 5905 | 190.005 | 190.268 | 0.019 | 9.3e-06 | 191.2392 | 3.4988 | 117.2544 | 0.1893 | 8199.4931 | 5.645 | 13016.72 | 7.779 | 0.34958 | 78.7887 | 0.44308 | 97.6291 | 213.8454 | 2.852 | 1 |  |  |  | 0.00016576 | 156.4176 | 36572.431 | 0.61313 | 0
13439743.75 |  | 5905 | 185.005 | 185.254 | 0.019 | 9.2e-06 | 186.2278 | 3.4265 | 116.0234 | 0.1794 | 7917.1412 | 5.57 | 12683.794 | 7.369 | 0.35685 | 79.0186 | 0.41367 | 97.8033 | 225.6071 | 2.462 | 1 |  |  |  | 0.00016103 | 157.5774 | 34680.784 | 0.62302 | 0
13440628.75 |  | 5905 | 180.012 | 180.248 | 0.019 | 9.2e-06 | 181.2123 | 3.3469 | 115.1509 | 0.1769 | 7635.3633 | 5.59 | 12366.171 | 7.269 | 0.72405 | 79.5276 | 0.4422 | 97.6845 | 230.9023 | 2.27 | 1 |  |  |  | 0.00015604 | 158.0373 | 32837.905 | 0.63545 | 0
13441524.44 |  | 5905 | 174.998 | 175.236 | 0.019 | 9.3e-06 | 176.2079 | 3.2737 | 113.7623 | 0.1653 | 7350.7581 | 5.619 | 12024.519 | 6.792 | 0.75169 | 79.6748 | 0.40513 | 97.8914 | 241.3054 | 1.951 | 1 |  |  |  | 0.00015141 | 159.0552 | 31049.225 | 0.64561 | 0
13442417.16 |  | 5905 | 170.017 | 170.185 | 0.019 | 9.2e-06 | 171.1849 | 3.1934 | 112.6032 | 0.1541 | 7058.614 | 5.603 | 11684.752 | 6.333 | 16.8124 | 79.6784 | 0.37858 | 98.04 | 247.4142 | 1.698 | 1 |  |  |  | 0.00014711 | 159.3495 | 29304.261 | 0.65779 | 0
13443311.47 |  | 5905 | 164.998 | 165.194 | 0.019 | 9.3e-06 | 166.1608 | 3.109 | 111.3536 | 0.1591 | 6761.3623 | 5.597 | 11336.165 | 6.538 | 1.2896 | 79.745 | 0.38845 | 98.0034 | 253.2329 | 1.639 | 1 |  |  |  | 0.00014263 | 159.3568 | 27609.403 | 0.67016 | 0
13444204.98 |  | 5905 | 160.009 | 160.192 | 0.019 | 9.2e-06 | 161.1415 | 3.0328 | 110.0159 | 0.1571 | 6461.9691 | 5.575 | 10981.813 | 6.455 | 3.1154 | 79.925 | 0.39577 | 97.9825 | 258.6851 | 1.516 | 1 |  |  |  | 0.00013788 | 159.4901 | 25966.582 | 0.68273 | 0
13445098.91 |  | 5905 | 155.015 | 155.214 | 0.019 | 9.3e-06 | 156.1216 | 2.9578 | 108.4029 | 0.1518 | 6162.3449 | 5.499 | 10615.919 | 6.236 | 10.9369 | 79.6333 | 0.36448 | 98.1431 | 265.3986 | 1.368 | 1 |  |  |  | 0.00013376 | 159.85 | 24373.947 | 0.69435 | 0
13445993.52 |  | 5905 | 149.998 | 150.226 | 0.019 | 9.3e-06 | 151.093 | 2.877 | 106.7583 | 0.1496 | 5862.0419 | 5.341 | 10248.053 | 6.148 | 4.7561 | 79.6705 | 0.36397 | 98.1557 | 270.9414 | 1.264 | 1 |  |  |  | 0.00012908 | 159.2667 | 22829.085 | 0.70657 | 0
13446887.06 |  | 5905 | 145.001 | 145.229 | 0.019 | 9.3e-06 | 146.0694 | 2.8013 | 105.1017 | 0.1462 | 5561.3342 | 5.145 | 9879.2856 | 6.008 | 6.8953 | 79.3228 | 0.35561 | 98.1981 | 275.2589 | 1.162 | 1 |  |  |  | 0.00012498 | 159.3411 | 21336.259 | 0.71953 | 0
13447777.95 |  | 5905 | 140.011 | 140.206 | 0.019 | 9.2e-06 | 141.0413 | 2.7178 | 103.4095 | 0.138 | 5260.679 | 4.972 | 9509.108 | 5.669 | 14.2592 | 78.8214 | 0.35155 | 98.2148 | 278.5962 | 1.034 | 1 |  |  |  | 0.00012108 | 158.6456 | 19892.647 | 0.73319 | 0
13448664.53 |  | 5905 | 135.014 | 135.189 | 0.019 | 9.3e-06 | 136.0111 | 2.6357 | 101.2721 | 0.135 | 4959.7034 | 4.856 | 9120.3212 | 5.548 | 16.0933 | 78.2338 | 0.3408 | 98.2618 | 283.8843 | 0.951 | 1 |  |  |  | 0.00011701 | 157.6428 | 18499.02 | 0.74459 | 0
13449548.59 |  | 5905 | 130.004 | 130.175 | 0.019 | 9.4e-06 | 130.9843 | 2.5525 | 99.179 | 0.1372 | 4659.2964 | 4.76 | 8733.9202 | 5.636 | 6.7626 | 77.5765 | 0.33676 | 98.2727 | 287.4301 | 0.9117 | 1 |  |  |  | 0.00011302 | 156.4676 | 17156.875 | 0.75718 | 0
13450428.86 |  | 5905 | 125 | 125.184 | 0.019 | 9.2e-06 | 125.9619 | 2.4664 | 96.6804 | 0.1312 | 4361.7696 | 4.634 | 8333.7422 | 5.39 | 25.039 | 76.2914 | 0.29919 | 98.4412 | 292.2095 | 0.8225 | 1 |  |  |  | 0.00010963 | 155.153 | 15866.411 | 0.76754 | 0
13451297.92 |  | 5905 | 120.003 | 120.197 | 0.019 | 9.2e-06 | 120.9305 | 2.376 | 94.1056 | 0.1298 | 4066.567 | 4.471 | 7932.7585 | 5.334 | 3.6116 | 75.4204 | 0.29642 | 98.4397 | 295.9081 | 0.7699 | 1 |  |  |  | 0.00010558 | 152.5828 | 14624.188 | 0.77818 | 0
13452160.16 |  | 5905 | 114.987 | 115.202 | 0.019 | 9.2e-06 | 115.9004 | 2.2894 | 91.3322 | 0.1249 | 3774.4878 | 4.287 | 7526.7378 | 5.132 | 8.9839 | 73.7424 | 0.28406 | 98.4709 | 299.2657 | 0.7022 | 1 |  |  |  | 0.00010246 | 150.8408 | 13432.9 | 0.78802 | 0
13453016.7 |  | 5905 | 110.003 | 110.188 | 0.019 | 9.2e-06 | 110.8636 | 2.1916 | 88.2782 | 0.1194 | 3485.7753 | 4.081 | 7112.5565 | 4.907 | 4.7674 | 72.1023 | 0.2508 | 98.6173 | 302.6153 | 0.6378 | 1 |  |  |  | 9.9006e-05 | 147.4848 | 12290.731 | 0.79628 | 0
13453885.55 |  | 5905 | 104.995 | 105.212 | 0.019 | 9.3e-06 | 105.8403 | 2.0935 | 85.3687 | 0.1166 | 3201.5482 | 3.856 | 6708.7974 | 4.789 | 1.3335 | 70.3296 | 0.23169 | 98.6873 | 303.7154 | 0.5931 | 1 |  |  |  | 9.5739e-05 | 144.2046 | 11202.173 | 0.80658 | 0
13454726.61 |  | 5905 | 99.994 | 100.206 | 0.019 | 9.3e-06 | 100.8026 | 2.0039 | 82.2216 | 0.1073 | 2927.1126 | 3.685 | 6305.0698 | 4.409 | 2.7143 | 68.8274 | 0.24343 | 98.5865 | 304.5218 | 0.5213 | 1 |  |  |  | 9.1985e-05 | 140.6591 | 10161.165 | 0.81567 | 0
13455561.92 |  | 5905 | 94.9915 | 95.2072 | 0.019 | 9.3e-06 | 95.7632 | 1.9123 | 78.9834 | 0.1102 | 2663.1338 | 3.595 | 5908.0512 | 4.529 | 0.54147 | 66.7807 | 0.21886 | 98.6831 | 304.2901 | 0.5123 | 1 |  |  |  | 8.8827e-05 | 137.6548 | 9170.5833 | 0.82478 | 0
13456380.86 |  | 5905 | 89.9833 | 90.1747 | 0.019 | 9.3e-06 | 90.7201 | 1.8207 | 75.084 | 0.1014 | 2408.9711 | 3.403 | 5493.6882 | 4.167 | 0.68561 | 64.5244 | 0.21731 | 98.639 | 305.5526 | 0.4531 | 1 |  |  |  | 8.5513e-05 | 133.5613 | 8230.1291 | 0.82764 | 0
13457192.39 |  | 5905 | 84.9896 | 85.1233 | 0.019 | 9.4e-06 | 85.691 | 1.7288 | 71.133 | 0.1109 | 2164.9678 | 3.046 | 5087.3636 | 4.555 | 0.11192 | 62.0992 | 0.19355 | 98.7305 | 305.4572 | 0.4777 | 1 |  |  |  | 8.2272e-05 | 129.0488 | 7342.9448 | 0.83011 | 0
13457979.39 |  | 5905 | 79.996 | 80.1055 | 0.019 | 9.3e-06 | 80.6634 | 1.6354 | 67.0745 | 0.09824 | 1934.0147 | 2.806 | 4689.674 | 4.036 | 0.20498 | 59.5753 | 0.18586 | 98.7176 | 304.2282 | 0.4099 | 1 |  |  |  | 7.9073e-05 | 124.1983 | 6506.5787 | 0.83154 | 0
13458754.95 |  | 5905 | 74.9861 | 75.0999 | 0.019 | 9.2e-06 | 75.6141 | 1.5437 | 62.7266 | 0.09629 | 1715.2946 | 2.694 | 4292.3248 | 3.956 | 0.13841 | 56.9952 | 0.18748 | 98.6341 | 302.5102 | 0.3911 | 1 |  |  |  | 7.5687e-05 | 119.1505 | 5717.4897 | 0.82956 | 0
13459519.53 |  | 5905 | 69.9922 | 70.0942 | 0.019 | 9.3e-06 | 70.5797 | 1.456 | 58.0693 | 0.08365 | 1509.1758 | 2.541 | 3894.8696 | 3.437 | 0.34869 | 54.1937 | 0.17207 | 98.6666 | 300.467 | 0.3332 | 1 |  |  |  | 7.2235e-05 | 113.9904 | 4981.4904 | 0.82275 | 0
13460248.44 |  | 5905 | 64.9971 | 65.0876 | 0.019 | 9.3e-06 | 65.543 | 1.3686 | 53.1819 | 0.0751 | 1317.6404 | 2.417 | 3502.5405 | 3.085 | 2.0912 | 51.1545 | 0.16439 | 98.6346 | 297.6725 | 0.2958 | 1 |  |  |  | 6.884e-05 | 108.3873 | 4295.888 | 0.8114 | 0
13460998.3 |  | 5905 | 59.9973 | 60.096 | 0.019 | 9.4e-06 | 60.5059 | 1.2772 | 48.1598 | 0.07368 | 1142.303 | 2.355 | 3120.8797 | 3.027 | 7.127 | 47.8343 | 0.15111 | 98.6422 | 293.7727 | 0.2895 | 1 |  |  |  | 6.5606e-05 | 102.309 | 3660.9646 | 0.79595 | 0
13461740.34 |  | 5905 | 54.9997 | 55.1024 | 0.019 | 9.2e-06 | 55.4725 | 1.1894 | 42.9753 | 0.06843 | 979.2274 | 2.262 | 2744.8057 | 2.811 | 3.3381 | 44.3954 | 0.1475 | 98.5557 | 288.9241 | 0.2714 | 1 |  |  |  | 6.2203e-05 | 95.6686 | 3077.1984 | 0.77471 | 0
13462466.69 |  | 5905 | 49.9998 | 50.1098 | 0.019 | 9.3e-06 | 50.4319 | 1.0947 | 37.7164 | 0.06831 | 830.2791 | 2.187 | 2379.8016 | 2.806 | 0.96348 | 40.775 | 0.13802 | 98.5132 | 282.7746 | 0.2771 | 1 |  |  |  | 5.8739e-05 | 88.7908 | 2543.3803 | 0.74787 | 0
13463206.91 |  | 5905 | 49.0079 | 49.1145 | 0.019 | 9.3e-06 | 49.3915 | 0.98628 | 36.5399 | 0.06721 | 801.6172 | 2.18 | 2302.805 | 2.761 | 0.32537 | 39.6893 | 0.1332 | 98.5243 | 281.6892 | 0.2751 | 1 |  |  |  | 5.8391e-05 | 73.1868 | 2439.5201 | 0.7398 | 0
13463857.27 |  | 5905 | 48.0294 | 48.1513 | 0.019 | 9.4e-06 | 48.432 | 1.0071 | 35.5587 | 0.06316 | 775.3882 | 2.183 | 2236.2659 | 2.595 | 1.2953 | 38.8223 | 0.12613 | 98.5686 | 280.2093 | 0.2602 | 1 |  |  |  | 5.7961e-05 | 79.3786 | 2345.6542 | 0.7342 | 0
13464443.67 |  | 5905 | 47.0559 | 47.1792 | 0.019 | 9.3e-06 | 47.4605 | 0.98231 | 34.4461 | 0.06525 | 749.6004 | 2.196 | 2164.7673 | 2.681 | 0.19267 | 37.5366 | 0.11034 | 98.7038 | 279.1524 | 0.2715 | 1 |  |  |  | 5.7995e-05 | 77.6447 | 2252.4956 | 0.72578 | 0
13465031.61 |  | 5905 | 46.0942 | 46.1999 | 0.019 | 9.2e-06 | 46.4881 | 0.95559 | 33.2915 | 0.06318 | 724.3978 | 2.217 | 2092.1319 | 2.596 | 0.98261 | 36.5329 | 0.10003 | 98.7925 | 278.2218 | 0.2662 | 1 |  |  |  | 5.7567e-05 | 75.0733 | 2161.1481 | 0.71613 | 0
13465612.7 |  | 5905 | 45.1284 | 45.2254 | 0.019 | 9.2e-06 | 45.5108 | 0.93354 | 32.2306 | 0.06287 | 699.6116 | 2.239 | 2023.7608 | 2.583 | 1.0232 | 35.7755 | 0.099942 | 98.7671 | 276.822 | 0.2677 | 1 |  |  |  | 5.6872e-05 | 73.0658 | 2071.2311 | 0.7082 | 0
13466187.22 |  | 5905 | 44.1555 | 44.2551 | 0.019 | 9.3e-06 | 44.5319 | 0.91491 | 31.1513 | 0.06389 | 675.2195 | 2.254 | 1955.0252 | 2.625 | 0.72563 | 34.9564 | 0.098974 | 98.7499 | 275.4454 | 0.2753 | 1 |  |  |  | 5.6232e-05 | 71.551 | 1983.09 | 0.69953 | 0
13466768.17 |  | 5905 | 43.185 | 43.2815 | 0.019 | 9.4e-06 | 43.5609 | 0.89573 | 30.0587 | 0.0631 | 651.3453 | 2.259 | 1886.2649 | 2.592 | 1.4734 | 34.0541 | 0.091186 | 98.8175 | 274.1326 | 0.2757 | 1 |  |  |  | 5.5675e-05 | 69.9128 | 1897.5505 | 0.69004 | 0
13467336 |  | 5905 | 42.2219 | 42.3049 | 0.019 | 9.3e-06 | 42.5836 | 0.87681 | 28.9799 | 0.06201 | 628.002 | 2.267 | 1818.6002 | 2.548 | 3.818 | 33.403 | 0.09511 | 98.7427 | 272.6809 | 0.2749 | 1 |  |  |  | 5.4742e-05 | 68.1083 | 1813.361 | 0.68054 | 0
13467899.02 |  | 5905 | 41.2482 | 41.3344 | 0.019 | 9.4e-06 | 41.6068 | 0.85946 | 27.9151 | 0.06219 | 605.1028 | 2.271 | 1751.9548 | 2.555 | 1.8113 | 32.4701 | 0.088484 | 98.7967 | 271.1317 | 0.2798 | 1 |  |  |  | 5.4238e-05 | 66.806 | 1731.1247 | 0.67093 | 0
13468467 |  | 5905 | 40.2852 | 40.3653 | 0.019 | 9.3e-06 | 40.6323 | 0.83941 | 26.8346 | 0.0625 | 582.4852 | 2.259 | 1684.9458 | 2.568 | 1.6759 | 31.6531 | 0.087535 | 98.7795 | 269.6331 | 0.2862 | 1 |  |  |  | 5.3514e-05 | 64.9401 | 1650.9816 | 0.66043 | 0
13469035.06 |  | 5905 | 39.3183 | 39.3912 | 0.019 | 9.3e-06 | 39.6597 | 0.82039 | 25.8306 | 0.06115 | 559.8134 | 2.218 | 1621.0254 | 2.512 | 0.52603 | 30.8535 | 0.082131 | 98.8245 | 267.7613 | 0.2844 | 1 |  |  |  | 5.2808e-05 | 63.3062 | 1572.8918 | 0.65131 | 0
13469597.3 |  | 5905 | 38.3529 | 38.4179 | 0.019 | 9.3e-06 | 38.6857 | 0.80129 | 24.8918 | 0.06167 | 536.6985 | 2.128 | 1559.343 | 2.534 | 0.32269 | 30.1386 | 0.083056 | 98.7811 | 265.5333 | 0.2909 | 1 |  |  |  | 5.2014e-05 | 61.707 | 1496.5859 | 0.64344 | 0
13470127.59 |  | 5905 | 37.3881 | 37.4452 | 0.019 | 9.3e-06 | 37.7088 | 0.78721 | 24.0104 | 0.07599 | 513.2985 | 1.992 | 1499.7305 | 3.122 | 0.021233 | 29.8179 | 0.084095 | 98.7492 | 262.9642 | 0.3629 | 1 |  |  |  | 5.0573e-05 | 60.2773 | 1421.9527 | 0.63673 | 0
13470690.55 |  | 5905 | 36.4122 | 36.4766 | 0.019 | 9.3e-06 | 36.7106 | 0.74248 | 25.8922 | 0.1149 | 489.5657 | 1.843 | 1553.3102 | 4.721 | 5.8375 | 31.6013 | 0.097576 | 98.5706 | 247.5849 | 0.4929 | 1 |  |  |  | 4.9489e-05 | 59.6358 | 1347.6651 | 0.70531 | 0
13471281.56 |  | 5905 | 35.4479 | 35.5056 | 0.019 | 9.3e-06 | 35.7512 | 0.7237 | 27.8794 | 0.05877 | 467.32 | 1.727 | 1612.7057 | 2.414 | 0.079244 | 32.8468 | 0.084904 | 98.7438 | 233.1118 | 0.2276 | 1 |  |  |  | 4.9414e-05 | 63.2027 | 1278.147 | 0.77982 | 0
13471879.88 |  | 5905 | 34.4809 | 34.5376 | 0.019 | 9.3e-06 | 34.7917 | 0.7341 | 26.6629 | 0.05873 | 446.0314 | 1.669 | 1541.4364 | 2.413 | 0.092233 | 31.8326 | 0.080821 | 98.7651 | 231.552 | 0.2318 | 1 |  |  |  | 4.873e-05 | 65.6935 | 1210.4646 | 0.76636 | 0
13472438.22 |  | 5905 | 33.5194 | 33.5851 | 0.019 | 9.3e-06 | 33.8134 | 0.71628 | 25.7286 | 0.0781 | 425.2394 | 1.652 | 1482.2636 | 3.209 | 0.23259 | 31.7293 | 0.090432 | 98.6064 | 228.6954 | 0.3109 | 1 |  |  |  | 4.7053e-05 | 63.6653 | 1143.3431 | 0.7609 | 0
13473013.39 |  | 5905 | 32.5372 | 32.6013 | 0.019 | 9.3e-06 | 32.8415 | 0.70779 | 24.0836 | 0.056 | 404.8953 | 1.645 | 1394.3334 | 2.301 | 0.41585 | 29.6474 | 0.068896 | 98.8721 | 228.7173 | 0.2323 | 1 |  |  |  | 4.7301e-05 | 63.4586 | 1078.5623 | 0.73333 | 0
13473567.09 |  | 5905 | 31.58 | 31.6655 | 0.019 | 9.3e-06 | 31.8586 | 0.68597 | 22.9476 | 0.0524 | 384.6473 | 1.612 | 1327.415 | 2.153 | 3.8406 | 30.0533 | 0.074201 | 98.8001 | 226.5694 | 0.2221 | 1 |  |  |  | 4.444e-05 | 59.2949 | 1014.9735 | 0.72029 | 0
13474126.89 |  | 5905 | 30.604 | 30.6793 | 0.019 | 9.3e-06 | 30.892 | 0.68444 | 21.7205 | 0.05176 | 364.5557 | 1.543 | 1256.9114 | 2.127 | 9.07 | 29.1133 | 0.088102 | 98.5301 | 224.897 | 0.2258 | 1 |  |  |  | 4.3499e-05 | 60.1067 | 954.317 | 0.70311 | 0
13474683.47 |  | 5905 | 29.6467 | 29.7365 | 0.019 | 9.2e-06 | 29.9154 | 0.66423 | 20.0214 | 0.05058 | 344.3583 | 1.456 | 1166.9088 | 2.078 | 0.68543 | 26.9007 | 0.088419 | 98.4199 | 225.3032 | 0.2338 | 1 |  |  |  | 4.3726e-05 | 58.2266 | 894.9336 | 0.66927 | 0
13475233.45 |  | 5905 | 28.6624 | 28.7528 | 0.019 | 9.3e-06 | 28.9321 | 0.63409 | 18.4544 | 0.04213 | 324.645 | 1.369 | 1082.8176 | 1.731 | 0.82602 | 25.347 | 0.068572 | 98.7115 | 225.2371 | 0.2064 | 1 |  |  |  | 4.2994e-05 | 53.8013 | 837.068 | 0.63785 | 0
13475756.09 |  | 5905 | 27.6896 | 27.7782 | 0.019 | 9.3e-06 | 27.9508 | 0.61164 | 17.0548 | 0.04226 | 305.8053 | 1.294 | 1006.4762 | 1.736 | 1.3476 | 24.3041 | 0.073373 | 98.5732 | 224.5305 | 0.2187 | 1 |  |  |  | 4.1703e-05 | 50.6939 | 781.2458 | 0.61017 | 0
13476293.89 |  | 5905 | 26.7237 | 26.806 | 0.019 | 9.3e-06 | 26.9741 | 0.59308 | 15.668 | 0.03848 | 287.6811 | 1.225 | 931.3796 | 1.581 | 0.59507 | 22.8589 | 0.063678 | 98.6957 | 223.9649 | 0.2119 | 1 |  |  |  | 4.1003e-05 | 48.6082 | 727.6004 | 0.58086 | 0
13476795.8 |  | 5905 | 25.7532 | 25.8387 | 0.019 | 9.3e-06 | 25.995 | 0.57058 | 14.3464 | 0.03681 | 269.7682 | 1.156 | 859.1705 | 1.512 | 13.048 | 21.83 | 0.073748 | 98.4329 | 223.2283 | 0.2165 | 1 |  |  |  | 3.9653e-05 | 45.7178 | 675.7403 | 0.55189 | 0
13477159.58 |  | 5905 | 24.7722 | 24.8538 | 0.019 | 9.3e-06 | 25.0072 | 0.55389 | 12.9692 | 0.03452 | 251.5844 | 1.086 | 784.4034 | 1.418 | 1.2122 | 20.4493 | 0.063869 | 98.5679 | 223.0261 | 0.2201 | 1 |  |  |  | 3.8616e-05 | 43.6599 | 625.3597 | 0.51862 | 0
13477516.41 |  | 5905 | 23.8048 | 23.8886 | 0.019 | 9.2e-06 | 24.0302 | 0.5368 | 11.5913 | 0.032 | 233.7533 | 1.018 | 709.9661 | 1.315 | 0.702 | 19.3572 | 0.060357 | 98.59 | 223.3522 | 0.2244 | 1 |  |  |  | 3.6914e-05 | 40.8985 | 577.4496 | 0.48237 | 0
13477865.47 |  | 5905 | 22.845 | 22.8815 | 0.019 | 9.3e-06 | 23.0604 | 0.51658 | 10.3738 | 0.03368 | 216.3893 | 0.9476 | 642.5807 | 1.384 | 0.23099 | 17.9097 | 0.056065 | 98.6007 | 223.1126 | 0.2593 | 1 |  |  |  | 3.6104e-05 | 38.7144 | 531.7838 | 0.44985 | 0
13478360.05 |  | 5905 | 21.8803 | 21.9487 | 0.019 | 9.3e-06 | 22.0943 | 0.49037 | 9.2219 | 0.02589 | 199.3844 | 0.8686 | 578.2517 | 1.064 | 13.9876 | 16.4464 | 0.050226 | 98.6507 | 222.9136 | 0.2209 | 1 |  |  |  | 3.5367e-05 | 35.8194 | 488.1571 | 0.41739 | 0
13478694.61 |  | 5905 | 20.9067 | 20.9556 | 0.019 | 9.3e-06 | 21.094 | 0.46541 | 8.1749 | 0.02807 | 182.4303 | 0.7916 | 518.2836 | 1.153 | 7.0715 | 15.5009 | 0.056194 | 98.4145 | 222.0247 | 0.2656 | 1 |  |  |  | 3.3663e-05 | 32.8927 | 444.9568 | 0.38755 | 0
13479190.48 |  | 5905 | 19.9411 | 20.0185 | 0.019 | 9.2e-06 | 20.1415 | 0.44688 | 7.1246 | 0.02133 | 167.3115 | 0.7399 | 460.017 | 0.8762 | 1.8436 | 14.1233 | 0.043151 | 98.683 | 222.3626 | 0.2293 | 1 |  |  |  | 3.2748e-05 | 31.0019 | 405.6805 | 0.35373 | 0
13479512.88 |  | 5905 | 18.9605 | 19.0198 | 0.019 | 9.3e-06 | 19.1412 | 0.4224 | 6.1479 | 0.02021 | 152.349 | 0.6982 | 404.9267 | 0.8302 | 1.8675 | 13.1596 | 0.048817 | 98.4247 | 222.2945 | 0.2492 | 1 |  |  |  | 3.0963e-05 | 28.2466 | 366.3854 | 0.32119 | 0
13479831.17 |  | 5905 | 17.9909 | 18.0805 | 0.019 | 9.2e-06 | 18.1728 | 0.40241 | 5.288 | 0.01886 | 137.9568 | 0.6439 | 355.2063 | 0.7748 | 0.79686 | 12.1305 | 0.04856 | 98.3217 | 222.1564 | 0.2681 | 1 |  |  |  | 2.947e-05 | 26.3192 | 330.2521 | 0.29098 | 0
13480135.44 |  | 5905 | 17.025 | 17.0817 | 0.019 | 9.3e-06 | 17.191 | 0.38068 | 4.4826 | 0.01636 | 123.5906 | 0.5793 | 307.7514 | 0.672 | 1.6095 | 10.9884 | 0.042979 | 98.3798 | 222.2291 | 0.2727 | 1 |  |  |  | 2.8173e-05 | 24.2611 | 295.5308 | 0.26075 | 0
13480433.25 |  | 5905 | 16.0526 | 16.1391 | 0.019 | 9.4e-06 | 16.2175 | 0.3566 | 3.8003 | 0.01481 | 109.8942 | 0.516 | 266.0228 | 0.6082 | 0.41899 | 10.1106 | 0.043282 | 98.2438 | 221.6196 | 0.2891 | 1 |  |  |  | 2.6474e-05 | 21.9768 | 263.0081 | 0.23433 | 0
13480724.17 |  | 5905 | 15.0857 | 15.1443 | 0.019 | 9.2e-06 | 15.2364 | 0.33681 | 3.1668 | 0.01245 | 96.6375 | 0.4553 | 226.7396 | 0.5117 | 3.0053 | 9.1208 | 0.039535 | 98.2381 | 221.3356 | 0.2906 | 1 |  |  |  | 2.5007e-05 | 20.2213 | 232.1482 | 0.20784 | 0
13481011.27 |  | 5905 | 14.1119 | 14.1878 | 0.019 | 9.4e-06 | 14.2564 | 0.31416 | 2.6467 | 0.01141 | 84.0169 | 0.4091 | 192.7518 | 0.469 | 0.81511 | 8.385 | 0.037433 | 98.1962 | 219.9026 | 0.3159 | 1 |  |  |  | 2.3123e-05 | 18.2415 | 203.2448 | 0.18565 | 0
13481295.59 |  | 5905 | 13.1457 | 13.2073 | 0.019 | 9.3e-06 | 13.2799 | 0.29108 | 2.2268 | 0.01008 | 72.2408 | 0.3678 | 163.7268 | 0.414 | 1.6223 | 7.6233 | 0.035032 | 98.1489 | 217.0012 | 0.3268 | 1 |  |  |  | 2.1604e-05 | 16.77 | 176.3558 | 0.16768 | 0
13481573.5 |  | 5905 | 12.1756 | 12.242 | 0.019 | 9.2e-06 | 12.3019 | 0.26813 | 1.8532 | 0.008614 | 61.3477 | 0.3238 | 137.4849 | 0.3539 | 3.7834 | 7 | 0.034362 | 98.0284 | 213.7225 | 0.3303 | 1 |  |  |  | 1.9762e-05 | 15.2466 | 151.3376 | 0.15065 | 0
13481846.91 |  | 5905 | 11.209 | 11.2663 | 0.019 | 9.3e-06 | 11.3246 | 0.24577 | 1.5675 | 0.006669 | 50.9817 | 0.2464 | 115.3816 | 0.274 | 1.5795 | 6.4719 | 0.029947 | 98.1367 | 208.0391 | 0.2943 | 1 |  |  |  | 1.7934e-05 | 14 | 128.2459 | 0.13842 | 0
13482105.59 |  | 5905 | 10.2371 | 10.3011 | 0.019 | 9.3e-06 | 10.3467 | 0.222 | 1.3628 | 0.005347 | 41.5013 | 0.1967 | 97.4913 | 0.2197 | 0.80203 | 6.0948 | 0.027245 | 98.1827 | 199.1531 | 0.2598 | 1 |  |  |  | 1.6094e-05 | 12.9438 | 107.054 | 0.13172 | 0
13482363.83 |  | 5905 | 9.2712 | 9.3264 | 0.019 | 9.3e-06 | 9.3696 | 0.19839 | 1.2215 | 0.004618 | 32.9261 | 0.1676 | 83.1089 | 0.1897 | 0.27201 | 5.872 | 0.023604 | 98.3271 | 187.0503 | 0.2352 | 1 |  |  |  | 1.4241e-05 | 12.1896 | 87.7886 | 0.13037 | 0
13482620.14 |  | 5905 | 8.3001 | 8.3597 | 0.019 | 9.4e-06 | 8.3936 | 0.17389 | 1.145 | 0.003309 | 25.3164 | 0.1227 | 72.3574 | 0.1359 | 1.1475 | 5.8911 | 0.020851 | 98.4476 | 171.2171 | 0.1646 | 1 |  |  |  | 1.2365e-05 | 11.7441 | 70.4522 | 0.13641 | 0
13482877.81 |  | 5905 | 7.333 | 7.3848 | 0.019 | 9.3e-06 | 7.4182 | 0.15146 | 1.0963 | 0.002664 | 18.6012 | 0.09545 | 63.6421 | 0.1094 | 0.6493 | 6.108 | 0.017678 | 98.6007 | 153.5285 | 0.1241 | 1 |  |  |  | 1.0494e-05 | 11.7822 | 55.0299 | 0.14779 | 0
13483469.59 |  | 5905 | 6.3694 | 6.4447 | 0.019 | 9.2e-06 | 6.4517 | 0.1299 | 1.0768 | 0.001959 | 12.8387 | 0.05762 | 57.0777 | 0.08049 | 1.5146 | 6.5845 | 0.015223 | 98.6702 | 134.3276 | 0.08137 | 1 |  |  |  | 8.7389e-06 | 12.2161 | 41.6245 | 0.1669 | 0
13483756.94 |  | 5905 | 5.3926 | 5.4652 | 0.019 | 9.3e-06 | 5.463 | 0.10975 | 1.0308 | 0.002013 | 8.2245 | 0.03666 | 50.5741 | 0.08271 | 0.44369 | 7.3237 | 0.010034 | 98.9898 | 115.4089 | 0.07504 | 1 |  |  |  | 6.955e-06 | 13.1689 | 29.8442 | 0.18869 | 0
13484144.38 |  | 5905 | 4.4314 | 4.491 | 0.019 | 9.3e-06 | 4.4976 | 0.10249 | 1.1832 | 0.003625 | 4.7637 | 0.01819 | 53.3741 | 0.1489 | 5.4829 | 10.2437 | 0.010482 | 98.7305 | 90.7468 | 0.0925 | 1 |  |  |  | 5.2661e-06 | 20.8711 | 20.2286 | 0.26307 | 0
13484513.38 |  | 5905 | 3.4618 | 3.5134 | 0.019 | 9.3e-06 | 3.5127 | 0.076042 | 0.93615 | 0.002361 | 2.2722 | 0.007515 | 40.7324 | 0.09698 | 0.75923 | 10.6308 | 0.00479 | 99.1387 | 76.6306 | 0.0643 | 1 |  |  |  | 3.8612e-06 | 20.4873 | 12.3394 | 0.2665 | 0
13484898.5 |  | 5905 | 2.4962 | 2.5228 | 0.019 | 9.3e-06 | 2.535 | 0.057685 | 0.40515 | 0.0009808 | 0.88875 | 0.003545 | 17.5338 | 0.0403 | 1.0336 | 6.899 | 0.0023138 | 99.299 | 73.1097 | 0.0589 | 1 |  |  |  | 2.5577e-06 | 13.7189 | 6.4262 | 0.15982 | 0